## IEC62559-2
1 Description of the use case
1.1 Name of use case
Use case identification
| ID | UC3
Area/ Domain(s)/ Zone(s)
| Name of use case | Explicit Demand Response through context-aware flexibility profiles
1.2 Version management
| Version No. | 1 | 2 | 3
| Date | 2020-11-10
| Name of author(s) | Atos
| Changes | first daft
Approval status
1.3 Scope and objectives of use case
| Scope | Personalized, human-centric and contract-safeguarding participation in explicit demand response programmes on the basis of context-aware flexibility profiles. This use case will examine the high value achieved through context-aware and human-centric innovation in increasing impact of explicit demand response and engagement in relative programmes.
| Objective(s) | The objectives of this use case are: 1. Facilitate Explicit Demand Response (DR) mechanisms in a non-intrusive way. 2. Enable prosumers to participate in local flexibility markets exploiting building-level demand flexibility. 3. Facilitate the development of tool suites for prosumer active participation in retail energy and ancillary services markets individually or via third-party actors (Aggregators, etc.). 4. Facilitate the creation of context-aware flexibility profiling mechanisms that incorporate user comfort parameters as constraints in the flexibility optimisation.
Related business case(s)
1.4 Narrative of use case
Short description
| Complete description | In order to facilitate prosumer participation in explicit demand response strategies without hampering user comfort parameters, appropriate metering, monitoring and sensor infrastructure is installed (Smart Home system and devices). The data collected by this equipment is fed through established communication streams to the profiling mechanisms that provide information on the building’s energy specifications as well as on the occupants’ energy-related preferences. This information is utilised for the estimation of optimised demand flexibility profiles considering comfort-related constraints. Based on the buildinglevel demand flexibility models, the aggregators create their flexibility portfolio through clustering and summation of the available building-level flexibility in order to reach marketsize requirements under different business scenarios. Furthermore, continuous optimisation of aggregated demand profiles takes place, e.g. via load shedding or load shifting and demand side management strategies are realised with the support of suitable tool suites, namely global flexibility manager. The optimisation is a continuous, dynamic, automated procedure steered by market requirements and/or TSO/DSO DR signal as well as flexibility portfolio possibilities, e.g. assets availability and specifications, DR reliability, contractual constraints, opt-out events, etc. Based on the aforementioned portfolio optimisation framework and upon the receipt of demand response signal from the DSO, the aggregator decides upon the implementation of load control DR strategies through signal dispatch.
1.5 Key performance indicators (KPI)
| ID | 3/1 | 3/2 | 3/3 | 3/4 | 3/5 | 3/6 | 3/7 | 3/8 | 3/9 | 3/10 | 3/11 | 3/12 | 3/13 | 3/14 | 3/15 | 3/16
| Name | Ability to receive load / device monitoring data at any time | Pre-processing of data for load data cleaning and normalization | Demand flexibility and optimisation algorithms defined and implemented in the building flexibility manager | Local flexibility manager handles individually the flexibility profiles provided by each asset | Availability of interoperability framework | Continuous reporting of contextual conditions from local flexibility manager | Available feedback from flexibility market(s) | Available business scenarios / strategies for exploitation of demand flexibility | Robust aggregator visualisation platform providing graphical information upon alternative segmentation scenarios | Well-defined Global Flexibility Manger Interface with the Aggregator UI | Adequate input provided to enable load segmentation | Robust Aggregator tool suite providing possibilities for such functions | Control Signals shall be appropriately matched and routed to the corresponding local flexibility manager through the middleware | Valid and actionable DR signal | Appropriate control dispatch infrastructure | User friendly / Comprehensible graphical visualisation of data provided to the prosumer
| Description | Check that ILESEM is able to receive load data through the device monitoring | Compare raw data from loads after cleaning and normalization | The performance of demand response is greater the better optimisation algorithms implemented in the building flexibility manager | Check that flexibility manager can access to the individual flexibility profiles of each asset | Check that data from devices and modules can be received through the interoperability framework | Check that flexibility manager provides measurements of contextual conditions from local flexibility manager | Check that ILESEM receives feedback from flexibility markets | Check the number of real scenarios applied on pilots | Check the existence of interfaces for aggregators | Check the implementation of aggregator visual interface | Check that data is processed from devices and assets | Check the existence of the tool suit with the different functions | Check that local flexibility manager can access to control signals through the middleware | Check the number of valid and actionable DR signals per day for aggregators and prosumers | Check the existence of the infrastructure | - Check the existence of the user interface - Check prosumer feedback
Reference to mentioned use case objectives
1.6 Use case conditions
| Assumptions | 3/1: Training/Calibration period preceding with historical data of operational and environmental conditions; 3/2: Extraction of accurate user/zone comfort profiles & and building thermal mass model behaviour; 3/3: Existence of accurate context-aware demand flexibility profiles (per connection point smart meter) and appropriate KPIs that will be used as a basis for the overall optimization process of the aggregator’s portfolio; 3/4: Optimised Decision supported by: 1. Specified market requirement 2. Prosumer response capability 3. DR reliability 4. Opt-out option 5. Existing commercial arrangement between aggregator and facility manager/prosumer 6. WSN & LFM at aggregator customer premises
| Prerequisites | 3/1: Establishment of WSN and smart home devices in building; 3/2: Real-time metering and sensor data concerning operational and ambient conditions feed the profiling modules; 3/3: Availability of all data necessary to facilitate the process of estimating, bundling and bidding flexibility; 3/4: Availability of information about flexibility and response capability of the consumers
1.7 Further information to the use case for classification/mapping | bar: 3/1 to 3/4
| Relation to other use cases | 3/1: UC6, UC8, UC9
| Level of depth | 3/1: Medium
| Prioritisation | 3/1: High
| Generic, regional or national relation | 3/1: Generic
Nature of the use case
| Further keywords for classification | 3/1: Context-aware flexibility profiling, Explicit Demand Response
1.8 General remarks
| General remarks | 3/1: Demand Response within MERLON is considered to be implemented by direct and fully automated load control schemes by the Aggregator. The DR event will be continuously monitored to identify overrides/failures and dynamically reconfigure the applied strategies so as to achieve the provision of the anticipated amounts of flexibility (dynamic VPP re-formulation) in an optimal way. Local Flexibility Market operating over blockchainenabled flexibility pooling and sharing marketplace will be analysed in a distinct UC. Flexibility in the context of this Use Case refers solely to Demand Flexibility provided by prosumers (either residential and/or commercial) facilitating demand response.
2 Diagrams of use case
Diagram(s) of use case | bar: 3/2
3 Technical details
3.1 Actors
Grouping | bar: 3/2 to 3/6
Group description | bar: 3/2 to 3/6
| Actor name | 3/1: Prosumer; 3/2: Local Flexibility Manager (LFM); 3/3: Global Flexibility Manager (GFM); 3/4: Retailer; 3/5: DSO; 3/6: Market Operator
| Actor type | 3/1: Prosumer; 3/2: DER manager; 3/3: Aggregator; 3/4: Retailer; 3/5: DSO; 3/6: Market Operator
| Actor description | 3/1: End-user that consumes energy but also produces energy; 3/2: Provides the intermediary service of monitoring of a building; 3/3: Market stakeholder that acquires flexibility from prosumers and creates services that draw on the accumulated flexibility for different markets and market players; 3/4: Market stakeholder in charge supplying/ billing electricity to end-user; 3/5: Distribution System Operator; 3/6: A person who manages and/or operates the business of an electricity market
| Further information specific to this use case | 3/1: In the present UC, the term refers to all consumers/ flexibility providers either residential, commercial or industrial.; 3/2: By default, it is applicable to commercial consumers.; 3/3: The GFM (or Aggrgator) and Retailer could be the same operator. “Third-party Aggregator” is an alternative name that implies distinct roles between Aggregator and Retailer. For the present UC, there are considered to be the same actor.; 3/4: The Retailer can assume the role of Aggregator.; 3/5: Distribution system operators (DSOs) are the operating managers (and sometimes owners) of energy distribution networks, operating at low, medium and, in some member states, high voltage levels (LV, MV).
3.2 References | bar: 3/1 to 3/6
No.
References type
Reference
Status
Impact on use case
Originator/organisation
Link
4 Step by step analysis of use case
4.1 Overview of scenarios
Scenario conditions
| No. | S01 | S02 | S03 | S04 | S05 | S06 | S07
| Scenario name | Monitoring and Visualizati on of Energy, Sensor and Device Data | Demand Flexibility profiling mechanism | Demand Flexibility Aggregati on and Analysis | Demand Flexibility Segmenta tion and DR request Dispatch | Establishment of a Flexibility Marketplace (UC10) | Flexibility enhancement through synergies with other networks (UC11) | Services provision from local flexibility systems to the transmission system & participation in Electricity markets
Scenario description
| Primary actor | Prosumer/ Facility Manager | Prosumer/ Facility Manager | Aggregator/ Retailer | Aggregator/ Retailer | Aggregator | Aggregator | ILESEM Manager (Aggregator of Aggregators)
| Triggering event | Data are requested to be fed in the profiling engine for a specific upcoming time horizon | Flexibility profiles are requested to be delivered to the Local Flexibility Manager over a specific time horizon | Aggregated / Flexibility Portfolio Analysis is requested as input for explicit DR | DR request for a specific amount of aggregated flexibility required | Interest from Aggregator to contract end customers with controllable DERs | Aggregator responsible for the management of CHP | ILESEM Manager to trigger flex requests to local flexibility sources
| Pre-condition | • Installation of essential monitoring and metering infrastructure (e.g. sensors and meters) • Data Handling Infrastructure • Establishment of communication pathway • Prosumer UI Interoperability between subsystems is essential | • Suitable physical and communication infrastructure established in asset • Flexibility and optimisation algorithms defined and implemented in the LFM | • Availability of Flexibility Profiles by all LFMs • Available ILES Flexibility Market information and applicable business scenarios | • Input from ILES flexibility market • Monitoring of flexibility portfolio/continuous update | Data available from other systems | Data available from other systems | Business need of ILESEM Manager (participation in energy markets/ services to TSOs)
| Postcondition | S01: Metering and Sensing data streams are fed to the Prosumer Context-Aware Flexibility Profiling Engine; S02: Flexibility profiles and forecast estimates are produced; S03: Estimation of accumulated flexibility potential and “What-if analysis” over the portfolio available under different business strategies; S04: • Specific load control strategy • Satisfaction of DR signal • Compliance with constraints of individual prosumers within the portfolio
4.2 Steps – Scenarios
| Scenario name: | S01- “Monitoring and Visualization of Energy, Sensor and Device Data” | S01- “Monitoring and Visualization of Energy, Sensor and Device Data” | S01- “Monitoring and Visualization of Energy, Sensor and Device Data” | S02- “Demand Flexibility profiling mechanism” | S02- “Demand Flexibility profiling mechanism” | S03- “Demand Flexibility Aggregation and Analysis” | S03- “Demand Flexibility Aggregation and Analysis” | S03- “Demand Flexibility Aggregation and Analysis” | S04- “Demand Flexibility Segmentation and DR request dispatch” | S04- “Demand Flexibility Segmentation and DR request dispatch” | S04- “Demand Flexibility Segmentation and DR request dispatch” | S05- “Automated Energy & Load Management” | S05- “Automated Energy & Load Management” | S05- “Automated Energy & Load Management”
| Step No. | St01 | St02 | St03 | St01 | St02 | St01 | St02 | St03 | St01 | St02 | St03 | St01 | St02 | St03
| Event | Response | Response | Response | Response | Response | Response | Response | Response | Request | Response | Request | Request | Request | Response
| Name of process/activity | Load/ Device Monitoring | Data streaming for Profiling | Data Visualisation | Demand flexibility profiling | Local Flexibility Dispatch | Local Flexibility Profiles Accumulation | Flexibility Aggregation & Portfolio Analysis | Result Visualisation | DR request, Load segmentation request | Flexibility Segmentation & Load control strategy | Control signal dispatch | DR signal to BFM | Control signals per device | New Status Visualisation
| Description of process/activity | Monitoring of device and data registering | Forward data streams to the LFM for processing and profiling | Forward data streams to prosumer visualisation platform | Data provided by the asset gateway are utilised for the profiling and optimisation | Forecasted Local Flexibility Profile is dispatched | Dispatch of flexibility profiles forecasted over a specified time horizon | Estimation of accumulated demand flexibility potential and investigation of optimal utilization through segmentation / clustering of the flexibility portfolio | What-if Analysis result Visualisation by the user | Request for selection/prioritisation of loads to control from the available flexibility portfolio | Break down total DR requirement into the available energy assets | DR signal is dispatched from the aggregator | DR signal is dispatched to the LFM | Optimal control commands are administered to the individual devices | Prosumer is notified about the DR event, the new device status, revised ambient conditions.
Service
| Information producer (actor) | Smart Equipment | Gateway | Gateway | Local Flexibility Manager | Local Flexibility Manager | Local Flexibility Manager | Global Flexibility Manager | Global Flexibility Manager | ILESEM/ Marketplace | Global Flexibility Manager | Global Flexibility Manager | LFM | LFM | Gateway
| Information receiver (actor) | Gateway | LFM | Prosumer UI | Local Flexibility Manager | Local Flexibility Manager | Global Flexibility Manager | Global Flexibility Manager | Aggregator UI | Global Flexibility Manager | Global Flexibility Manager | Local Flexibility Managers | LFM | Gateway | Prosumer UI
| Information exchanged (IDs) | Ambient Conditions, Occupancy, Energy Consumption, Device operational status | Ambient Conditions, Energy Consumption, Device operational status | Ambient Conditions, Energy Consumption, Device operational status | - | Flexibility profiles and forecasts, Contextual Conditions of flexibility calculation | Flexibility profiles and forecasts | - | Portfolio information (asset data, customer data), flexibility availability (per customer/total) | DR signal | - | Flexibility requirement per asset | Flexibility requirement per asset | New operating setpoints per controlled device | DR event, New device status and ambient conditions
5 Information exchanged
| Requirement, R-Ids | Ambient Conditions | Energy Consumption | Control Actions | Occupancy | Flexibility profiles and forecasts | Contextual Conditions of flexibility calculation | DR signal
Information exchanged, ID
| Name of information | °Ϲ, Lux, m | Wh | p.u. | True/False | Watts | °Ϲ, Lux, m | p.u.
| Description of information exchanged | Summary terms for all parameters deriving from the controllable devices such as lights, electric heating, domestic hot water. Namely, temperature, illuminance, mass flow (of hot water) | Electrical energy consumption | The actions on a device, either manual be the user of automated (e.g. setpoint regulation or ON/OFF) | Data from motion alarm | Power timeseries | Summary terms for all parameters deriving from the devices that are able to provide flexibility such as lights, electric heating, domestic hot water. Namely, temperature, illuminance, mass flow (of hot water), operational status | Power timeseries combined with control actions request
6 Requirements (optional)
Requirement, R-IDs
| Categories ID | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional
Category name for requirements
| Category description | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response | Demand Response
Requirement R-ID
| Requirement name | Ability to receive load / device monitoring data at any time | Pre-processing of data for load data cleaning and normalization | Demand flexibility and optimisation algorithms defined and implemented in the building flexibility manager | Local flexibility manager handles individually the flexibility profiles provided by each asset | Availability of interoperability framework | Continuous reporting of contextual conditions from local flexibility manager | Available feedback from flexibility market(s) | Available business scenarios / strategies for exploitation of demand flexibility | Robust aggregator visualisation platform providing graphical information upon alternative segmentation scenarios | Well-defined Global Flexibility Manger Interface with the Aggregator UI | Adequate input provided to enable load segmentation | Robust Aggregator tool suite providing possibilities for such functions | Control Signals shall be appropriately matched and routed to the corresponding local flexibility manager through the middleware | Valid and actionable DR signal | Appropriate control dispatch infrastructure | User friendly / Comprehensible graphical visualisation of data provided to the prosumer
7 Common terms and definitions
Requirement description
Common terms and definitions
8 Custom information (optional)
Term Definition
Custom information (optional)
Key Value Refers to section

## OTHER
Realization
Main responsible partners (Author)
Contributing partners
Priority