## IEC62559-2
1 Description of the use case
1.1 Name of use case
Use case identification
| ID | UC2
Area/ Domain(s)/ Zone(s)
| Name of use case | Forecasting functionalities for energy management of an ILES
1.2 Version management
| Version No. | 1 | 2 | 3
| Date | 2020-11-10
| Name of author(s) | Atos
| Changes | first daft
Approval status
1.3 Scope and objectives of use case
| Scope | Forecasting functionalities required for coordinated energy management of Integrated Local Energy Systems. The load, generation and flexibility forecasting of the assets within the ILES will be demonstrated.
| Objective(s) | The main objectives for this use case are: o Demonstration of all forecasting functionalities developed within MERLON framework o Definition of requirements flexibility forecasting algorithms on load, storage and generation units o Facilitate the short to medium term load and generation forecasting of the local area’s aggregate energy profile o Feedback utilised in development of reporting interfaces
Related business case(s)
1.4 Narrative of use case
Short description
| Complete description | The DSO performs day-ahead holistic forecasting of generation and consumption and expected imbalances on the level of the ILES using forecasting modules and power flow analysis tools. DSO also requests feedback from the Aggregator regarding the forecasted flexibility portfolio for the same horizon. Based on these forecasts, the DSO creates feedback on a day-ahead basis that can be utilised as input for the intra-ILES scheduling of the flexibility resources. Additionally, the forecasts combined contribute to the instance of a geographical ILES utilised for the inter-ILES cooperation potential in order to support the overlay electrical network with ancillary services provision. The present use case focuses on the forecasts provision specification and its combination to serve the above-mentioned purposes.
1.5 Key performance indicators (KPI)
| ID | 6/1 | 6/2 | 6/3 | 6/4 | 6/5 | 6/6 | 6/7 | 6/8 | 6/9 | 6/10 | 6/11 | 6/12 | 6/13 | 6/14 | 6/15
| Name | ILESEM Forecasting Module is able to provide forecasts at variable time intervals upon demand | ILESEM Forecasting Module is able to provide forecasts at substation level | Flexibility Scheduling Module is able to perform power flow analysis | All relevant grid parameters are available for running the power flow analysis | Power flow analysis has iterated and converged | Availability of interoperability framework | Robust Aggregator tool suite providing possibilities for such functions | Control Signals shall be appropriately matched and routed to the corresponding local flexibility manager through the middleware | Local flexibility manager locally sums the building flexibility and / or the EV flexibility | Local flexibility manager handles individually the flexibility profiles provided by each building / asset | Existing EV charging point and robust flexibility profiling engine that can produce day-ahead forecasts | Availability of flexibility profiles by all local flexibility managers | Continuous reporting of contextual conditions from local flexibility managers so that certain parameters are considered (if applicable) | Robust aggregator visualisation platform providing graphical information and supporting the respective functionalities | Robust DSO visualisation platform providing graphical information and supporting the respective functionalities
| Description | Check that forecasts at variable time intervals upon demand are provided | Check that forecasts at substation level are provided | Check that power flow analysis is provided | Check power flow analysis uses the grid parameters | Check the convergence of the power flow analysis | Check the availability of interoperability framework | Check the availability of aggregator functions | Check that signals from the Local Flexibility Manager are accessed through the middleware | Check that local flexibility manages the building and EV flexibility | Check that flexibility profiles are managed | Check that existence of EV charging point flexibilities profiles are managed | Check that flexibility profiles are available for all local flexibility managers | Check that contextual conditions are reported from Local Flexibility Managers | Check the existence of the aggregator interface with the functionalities | Check the existence of the DSO interface with the functionalities
Reference to mentioned use case objectives
1.6 Use case conditions
| Assumptions | 6/1: Extraction of accurate user/zone comfort profiles and building thermal mass model behaviour profiles.; 6/2: Existence of accurate context-aware demand flexibility profiles (per connection point smart meter) and appropriate KPIs that will be used as a basis for the overall optimization process of the aggregator’s portfolio; 6/3: Day-Ahead holistic forecast provided for optimisation and dayahead planning
| Prerequisites | 6/1: Real-time metering and sensor data concerning operational and ambient conditions feed the profiling modules; 6/2: Availability of all data necessary to facilitate the process of forecast estimation and aggregation; 6/3: Request for day-ahead scheduling preparation
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | 6/1: UC7, UC11
| Level of depth | 6/1: Medium
| Prioritisation | 6/1: High
| Generic, regional or national relation | 6/1: Generic
| Nature of the use case | 6/1: Technical
| Further keywords for classification | 6/1: Demand Forecasting, Supply Forecasting, Flexibility Forecasting
1.8 General remarks
| General remarks | 6/1: In the context of this UC, the term “District Resource” is used to define either distributed generation (e.g. PV, Wind Turbines, CHP, etc.) or Battery Energy Storage Systems that are interconnected to grid at district level. Namely, all LV-connected field devices excluding buildings and EVs. Additionally, the term “Asset” refers to the buildings/ living premises within UC6. Global Flexibility Manager aggregated the buildings and EV flexibility forecasts while the District Resources report their forecast at the ILESEM platform.
2 Diagrams of use case
Diagram(s) of use case | bar: 6/2 to 6/3
3 Technical details
3.1 Actors
Grouping | bar: 6/2 to 6/7
Group description | bar: 6/2 to 6/7
| Actor name | 6/1: Prosumer; 6/2: Facility Manager; 6/3: Aggregator; 6/4: Retailer; 6/5: DSO; 6/6: Market Operator; 6/7: District Resource Manager
| Actor type | 6/1: Prosumer; 6/2: DER manager; 6/3: Aggregator; 6/4: Retailer; 6/5: DSO; 6/6: Market Operator; 6/7: DER manager
| Actor description | 6/1: End-user that consumes energy but also produces energy; 6/2: Provides the intermediary service of monitoring of a building; 6/3: Market stakeholder that acquires flexibility from prosumers and creates services that draw on the accumulated flexibility for different markets and market players; 6/4: Market stakeholder in charge of supplying/ billing electricity to enduser; 6/5: Distribution System Operator; 6/6: A person who manages and/or operates the business of an electricity market; 6/7: The operator of a LV-connected DERs such as PV, Wind Turbines, CHP or BESS
| Further information specific to this use case | 6/1: In the present UC, the term refers to all residential consumers/ flexibility providers.; 6/2: By default, it is applicable to commercial consumers. More specifically, in the present UC, the term refers to all commercial consumers/ flexibility providers.; 6/3: The Aggregator and Retailer could be the same operator. “Third-party Aggregator” is an alternative name that implies distinct roles between Aggregator and Retailer. For the present UC, there are considered to be the same actor.; 6/4: The Retailer can assume the role of Aggregator.; 6/5: Distribution system operators (DSOs) are the operating managers (and sometimes owners) of energy distribution networks, operating at low, medium and, in some member states, high voltage levels (LV, MV).; 6/6: -; 6/7: In the context of this UC the term “District Resource” is used to define either distributed generation or storage units that are interconnected to grid at district level
3.2 References | bar: 6/1 to 6/7
No.
References type
Reference
Status
Impact on use case
Originator/organisation
Link
4 Step by step analysis of use case
4.1 Overview of scenarios
Scenario conditions
| No. | 6/1: S01; 6/2: S02; 6/3: S03
| Scenario name | 6/1: Request for Load & Generation Forecast; 6/2: Request for Imbalance Forecast; 6/3: Global Demand Flexibility Forecast Request
Scenario description | bar: 6/2 to 6/3
| Primary actor | 6/1: DSO; 6/2: DSO; 6/3: GFM
| Triggering event | 6/1: Request for day-ahead scheduling preparation within and among ILES; 6/2: Request for day-ahead scheduling preparation within and among ILES and completion of calculation of Load & Generation Forecasts; 6/3: Request for day-ahead scheduling preparation within and among ILES and completion of calculation of Load & Generation and Imbalance Forecasts
| Pre-condition | 6/1: ILESEM Forecasting Module is Active; 6/2: Flexibility Scheduling Module is active and able to perform Power Flow Analysis; 6/3: Global and Local Flexibility Managers are Active. Flexibility and optimisation algorithms defined and implemented in the building and EV flexibility managers
| Postcondition | 6/1: Calculation of Load & Generation Forecast; 6/2: Completion of power flow analysis and provision of Imbalance Forecast; 6/3: Day-Ahead holistic forecast provided for optimisation and day-ahead planning/scheduling.
4.2 Steps – Scenarios | bar: 6/1 to 6/3
| Scenario name: | S01- “Request for Load & Generation Forecast” | S01- “Request for Load & Generation Forecast” | S02- “Request for Imbalance Forecast” | S02- “Request for Imbalance Forecast” | S03- “Global Flexibility Forecast Request” | S03- “Global Flexibility Forecast Request” | S03- “Global Flexibility Forecast Request” | S03- “Global Flexibility Forecast Request” | S03- “Global Flexibility Forecast Request” | S03- “Global Flexibility Forecast Request” | S03- “Global Flexibility Forecast Request” | S03- “Global Flexibility Forecast Request” | S03- “Global Flexibility Forecast Request” | S03- “Global Flexibility Forecast Request”
| Step No. | St01 | St02 | St01 | St02 | St01 | St02 | St03 | St04 | St05 | St06 | St07 | St08 | St09 | St10
| Event | Request | Response | Request | Response | Request | Request | Request | Response | Request | Response | Response | Response | Request | Response
| Name of process/activity | DayAhead Forecast Request at NodeLevel | DayAhead Load & Generation Forecas | DayAhead Imbalance Forecast Request | DayAhead Imbalance Forecast | Day-Ahead Global Flexibility Forecast Request | Day-Ahead Local Flexibility Forecast Request | Day-Ahead Building Flexibility Forecast Request | Day-Ahead Building Flexibility Forecast | Day-Ahead EV Flexibility Forecast Request | Day-Ahead EV Flexibility Forecast | Local Demand Flexibility Forecasts Accumulation | Estimation of Global DayAhead Demand Flexibility | User Validation | Day-Ahead Holistic Forecast
| Description of process/activity | DSO Web interface requests generation and demand forecast | Forecast is provided by the ILESEM module | DSO Web interface requests for PF analysis in order to have a preview of any imbalances that may occur in a day-ahead horizon | Forecast is provided by the ILESEM module | Request for the aggregated flexibility forecast estimation on a dayahead basis | Request for the locally summed flexibility forecast estimation on a dayahead basis | Request for the locally summed flexibility forecast estimation on a dayahead basis | The produced buildinglevel flexibility forecast is provided for local summation | Request for the locally summed flexibility forecast estimation on a dayahead basis | The produced EV flexibility forecast is provided for local summation | All LFMs provide their estimated day-ahead forecasts to the GFM | Aggregation of forecasts is conducted also considering additional parameters | Validation provided through Aggregator Web Interface prior flexibility forecast dispatch to DSO | Provision of day-ahead Holistic Forecast to for Visualisatio n through the DSO Web Interface
Service
| Information producer (actor) | DSO Web interface | ILESEM Forecasting Module | DSO Web interface | ILESEM Scheduling Module | DSO Web interface | GFM | LFM | BFM | LFM | EVFM | LFM | GFM | Aggregator Web Interface | GFM
| Information receiver (actor) | ILESEM Forecasting Module | DSO Web interface | ILESEM Scheduling Module | DSO Web interface | GFM | LFM | BFM | LFM | EVFM | LFM | GFM | Aggregator Web Interface | GFM | DSO Web interface
| Information exchanged (IDs) | Forecasting Request [Request Signal, Time Horizon] | Forecasting response [Power timeseries] | Forecasting response [Power timeseries] | Imbalance forecast | Forecastin g Request [Request Signal, Time Horizon] | Forecasting Request [Request Signal, Time Horizon] | Forecasting Request for a specific building [Request Signal, Time Horizon] | Flexibility Forecastin g response [timeseries] | Forecasting Request for EV charging point [Request Signal, Time Horizon] | Flexibility Forecasting response [timeseries ] |  | Flexibility Forecasting response [timeseries] | Validation Signal | Flexibility Forecasting response [timeseries]
5 Information exchanged
Requirement, R-Ids
Information exchanged, ID
Name of information
Description of information exchanged
6 Requirements (optional)
Requirement, R-IDs
| Categories ID | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional | Functional
Category name for requirements
| Category description | Forecasting of energy demand | Forecasting of energy demand | Power flow analysis | Power flow analysis | Power flow analysis | Integration with rest of modules | Aggregation functions | Local flexibility | Local flexibility | Local flexibility | Local flexibility | Local flexibility | Local flexibility | User Aggregator interface is required to carry out the functionalities | User DSO interface is required to carry out the functionalities
Requirement R-ID
| Requirement name | ILESEM Forecasting Module is able to provide forecasts at variable time intervals upon demand | ILESEM Forecasting Module is able to provide forecasts at substation level | Flexibility Scheduling Module is able to perform power flow analysis | All relevant grid parameters are available for running the power flow analysis | Power flow analysis has iterated and converged | Availability of interoperability framework | Robust Aggregator tool suite providing possibilities for such functions | Control Signals shall be appropriately matched and routed to the corresponding local flexibility manager through the middleware | Local flexibility manager locally sums the building flexibility and / or the EV flexibility | Local flexibility manager handles individually the flexibility profiles provided by each building / asset | Existing EV charging point and robust flexibility profiling engine that can produce day-ahead forecasts | Availability of flexibility profiles by all local flexibility managers | Continuous reporting of contextual conditions from local flexibility managers so that certain parameters are considered (if applicable) | Robust aggregator visualisation platform providing graphical information and supporting the respective functionalities | Robust DSO visualisation platform providing graphical information and supporting the respective functionalities
7 Common terms and definitions
Requirement description
Common terms and definitions
8 Custom information (optional)
Term Definition
Custom information (optional)
Key Value Refers to section

## OTHER
Realization
Main responsible partners (Author)
Contributing partners
Priority